## Slide 1
Uncertainty-Guided Image Recapture for Mobile Chest X-Rays
Improving Abnormality Detection Reliability in Smartphone-Captured Chest Radiographs
DSAI Lab Project / Academic Research Committee Presentation
Evaluating active, region-specific image re-acquisition to overcome photographic glare and distortion on mobile chest X-ray digitizations.

## Slide 2
Research Problem & Key Questions
Problem Statement
"Can uncertainty-guided, region-specific image recapture improve the reliability of chest X-ray abnormality detection from smartphone photographs of physical X-ray films?"
Diagnostic Context & Challenges
Deep learning models trained on clean datasets (MIMIC-CXR-JPG, CheXphoto, VinDr-CXR) experience severe performance loss on photographed X-rays due to glare, perspective warp, and moiré patterns.
Low-confidence predictions require actionable re-acquisition rather than unverified claims.
Key Research Questions
1. Can a model remain reliable under real-world photographic distortions?
2. Can the system pinpoint which specific anatomical area is diagnostically inadequate?
3. Can spatial aleatoric uncertainty reliably identify obscured cases needing re-assessment?
4. Can a model choose a specific region where targeted close-up recapture improves prediction confidence?
5. Does combining active re-acquisition with macro context outperform standard passive baselines?

## Slide 3
Literature Benchmark Analysis
Current Model Performance
CheXphoto Benchmark: Standard CheXpert models show a 10–14% ROC AUC drop on smartphone photographs compared to pristine DICOMs (Leaderboard #1 scored 0.850 on film vs 0.890 on digital).
Model Recalibration (Nature 2021): Mean AUROC dropped from 0.75 (digital) to 0.67 (photograph). Recalibration with <200 photographs recovered AUROC to 0.75, outperforming transfer learning (0.71) and direct training (0.59).
RoMIA Framework: Implements noise-added training, input mixing, and DCT denoising to achieve a 3–5% accuracy improvement (22.6% reduction in misclassifications).
Mamba-YOLOvX & RA-CNN: Selective scanning (AP50 improved from 0.16 to 0.174) and recurrent attention localize discriminative regions, but rely purely on digital amplification rather than optical re-acquisition.
Methodological Gap
Core Literature Limitation
"Existing approaches attempt digital enhancement or model retraining on degraded inputs. None leverage physical re-acquisition to replace obscured optical signal."
Key Opportunity
Shift focus from purely algorithmic restoration on degraded data toward active physical optical re-acquisition frameworks.

## Slide 4
Baseline Architecture Breakdown
Baseline Classification Models
Baseline A (Performance Floor): Standard classification backbone (DenseNet-121 / ResNet-50) trained on clean DICOMs and tested directly on degraded photographs without pre-processing.
Baseline B (Synthetic Augmentation): Backbone trained with heavy synthetic geometric and photometric transformations on clean X-rays.
Baseline C (SOTA Passive Restoration): Algorithmic pre-processing pipeline involving glare removal and homography rectification before passing images to the classifier.
Limitations of Passive Restoration
Algorithmic Hallucination: Passive baselines mathematically guess pixel values beneath glare artifacts, failing to recover true underlying tissue structures.
High False Negative Rate (FNR): Obscured focal pathologies (e.g., small pneumothorax or nodules) remain unrectified, maintaining an unacceptably high FNR in clinical settings.
Figure 1: Sample Smartphone Glare Photograph
Degraded screen acquisition exhibiting severe specular reflection and geometric distortion, illustrating the clinical challenges encountered by standard baseline classifiers and passive restoration models.

## Slide 5
System Architecture & Mechanics
Methodological Paradigm Shift: Active, Uncertainty-Guided Optical Re-Acquisition
1
Spatial Aleatoric Uncertainty
Measures pixel-wise sensor noise and specular glare.
Intersects uncertainty maps with diagnostic task saliency to determine if an obscured region (e.g., lung apex) is clinically critical.
2
Targeted User Prompting
If an obscured area is diagnostically critical, the system prompts the user for a targeted, close-up photograph of just that region.
3
Two-Branch CNN & Feature Fusion
Global Branch: Processes full-frame photo for macro-anatomical context.
Local Branch: Processes high-frequency close-up for fine optical detail.
Attention Mechanism: Dynamically fuses feature maps for accurate classification.
Reference DICOM X-Ray
Diagnostic Scan Target
Saliency analysis identifies region-of-interest parameters before directing the local re-acquisition branch.

## Slide 6
Expected Outcomes & Interactive Prototype
Expected Research Outcomes
Recover AUROC: Close the performance gap between smartphone-photographed X-rays and pristine digital DICOM scans.
Reduce False Negative Rate: Drastically lower FNR for focal thoracic pathologies vulnerable to specular glare masking.
Quality & Uncertainty Metrics
Expected Calibration Error (ECE)
Measures alignment between model prediction confidence and actual classification accuracy.
< 15% Target
Recapture Efficiency
Tracks percentage of images triggering recapture to ensure clinical practicality.
Interactive Prototype Workflow
1
Primary Input
Mobile photo of chest X-ray film.
2
Initial Score & Uncertainty Assessment
Generates preliminary prediction + spatial uncertainty map.
3
Actionable Prompt
Requests targeted secondary close-up photo if crucial region is obscured.
4
Final Output
Highly confident, fused diagnostic classification.